PSCAD/EMTDC Simulation of Unified Series-Shunt Compensator for Power Quality Improvement

Abstract

This paper deals with the simulation of a unified series- shunt compensator (USSC) aimed at examining its capability in improving power quality in a power distribution systems. The USSC simulation model comprises of two 12-pulse inverters which are connected in series and in shunt to the system. A generalized sinusoidal pulse width modulation switching technique is developed in the proposed controller design for fast control action of the USSC. Simulations were carried out using the PSCAD/EMTDC electromagnetic transient program to validate the performance of the USSC model. Simulation results verify the capabilities of the USSC in performing voltage sag compensation, flicker reduction, voltage unbalance mitigation, UPS mode, power-flow control and harmonics elimination. A comparison of the USSC with other custom power devices shows that the USSC gives a better performance in power-quality mitigation.