Operating stationary fuel cells on power system and micro-grids

Abstract

The integration of stationary fuel cells for dispersed power generation is a challenge for utilities and semce provider in the next few years. Local distribution companies have to assess the impact of distributed generation on power system planning, operation, protection and tariff. Semce providers have the opportunity to power micro-grids by fuel cells. Rating of fuel cells and limitations of connectable power are discussed. The impact on protection scheme of power systems and micro-grids are described. Remedial measures are proposed to ensure safety and selectivity