Damping of Low Frequency Oscillations in Power Systems with Neuro-Fuzzy UPFC Controller

Abstract

Low Frequency Oscillations (LFO) occur in power systems because of lack of the damping torque in order to dominance to power system disturbances as an example of change in mechanical input power. In the recent past Power System Stabilizer (PSS) was used to damp LFO. FACTs devices, such as Unified Power Flow Controller (UPFC), can control power flow, reduce sub-synchronous resonance and increase

transient stability. So UPFC may be used to damp LFO instead of PSS. UPFC damps LFO through direct control of voltage and power. In this research the linearized model of synchronous machine (Heffron-Philips) connected to infinite bus (Single Machine-Infinite Bus: SMIB) with UPFC is used and also in

order to damp LFO, adaptive neuro-fuzzy controller for UPFC is designed and simulated. Simulation is performed for various types of loads and for different disturbances. Simulation results show good performance of neuro-fuzzy controller in damping LFO.