Design and Simulation of Fuzzy Logic

controller for DSTATCOM In Power System

Abstract

In this paper design of self tuned fuzzy set theory based PI controller is incorporated in typical FACTS device DSTATCOM. Its effects are tested in power systems. The modeling and the controller block diagram for DSTATCOM with detailed design of self tuned fuzzy logic controller is presented. The performance of proposed fuzzy logic DSTATCOM has been simulated for current balancing and harmonic compensation for both linear and non-linear loads. The results show the capability of proposed model in enhancing the dynamic behavior of interconnected systems. The simulation is carried out in MATLAB SIMULINK and the results shows the results confirm the feasibility of proposed system.