A Novel Online Fuzzy Control method of Static VAR Compensation for an Effective Reactive Power Control of transmission Line

## Abstract

The Flexible AC Transmission System (FACTS) technology is a promising technology to achieve complete deregulation of Power System i.e. Generation, Transmission and Distribution as the complete individual units. FACTS are based on power electronic devices, used to enhance the existing transmission capabilities in order to make the transmission system flexible and 
independent in operation. The loading capability of transmission system can also be enhanced nearer to its thermal limit without affecting the stability. Complete closed-loop smooth control of reactive power can be achieved using shunt connected FACTS devices. Static VAR Compensator (SVC) is one of the shunt connected FACTS devices, which can be utilized for the purpose of  reactive power compensation. As the Intelligent FACTS devices make them adaptable, it is emerging as the present state of the art  technology. This paper presents the design and simulation of the Fuzzy logic control to vary firing angle of SVC in order to achieve  better, smooth and adaptive control of reactive power in transmission systems. The design, modeling and simulations are carried  out for the λ/8 Transmission line by placing the compensation at the receiving end (load end) and the results obtained demonstrates  the effectiveness of the proposed method.