WIRELESS SENSOR NETWORK-BASED AIR QUALITY MONITORING SYSTEM

ABSTRACT

This paper proposes a simple Wireless Sensor Network (WSN)-based air quality monitoring system (WSNAQMS) for industrial and urban areas. The proposed framework comprises a set of gas sensors (ozone, CO, and NO2) that are deployed on stacks and infrastructure of a Zigbee WSN and a central server to support both short-term real-time incident management and a long-term strategic planning. This architecture would use open-hardware open-software gas sensing capable motes [6] made by Libelium. These motes use the ZigBee communication protocol and provide a real-time low cost monitoring system through the use of low cost, low data rate, and low power wireless communication technology. The proposed monitoring system can be transferred to or shared by other applications. We also introduce a simple but efficient clustering protocol dubbed hereafter “Clustering Protocol for Air Sensor network” (CPAS) for the proposed WSN-AQMS framework. CPAS proves to be efficient in terms of network energy consumption, network lifetime, and the rate at which data is communicated.

INTRODUCTION

Air quality monitoring and control has gained much attention lately because of the increased environmental awareness and the effect of air quality on many aspects of life. Besides the detrimental effects of toxic emissions on the environment and health, work productivity and energy efficiency are affected by air quality. Many researches have shown that, in a work place, the rise of CO2 levels leads to a rise in the quantity of volatile organic compounds (VOCs), odors, and microorganisms in the air, leading to a decrease in the ability of individuals to concentrate.

Moreover, some studies have shown that CO2-based air controls can result in up to 50% energy savings (CO2-based ventilation control can typically reduce HVAC cost in most buildings by 5% to 20%). Recently, Wireless Sensor Networks (WSNs) have achieved a great potential for a widespread applicability in the fields of monitoring, surveillance, data collection, and medical telemetry.

This potential can be attributed to their attractive characteristics: (i) WSNs can perform self configuration and reconfiguration in the case of any changes(for example a network topology change) (ii) WSNs can be monitored remotely (iii) WSNs can be expanded and redeployed easily (iv) WSNs adapt well to mobility. Despite all these qualities, the usage of WSNs in air quality monitoring industries has neither been widely adopted nor efficiently implemented. Potentials of WSNs in air quality monitoring have not been exploited to their fullest. In fact, industries are still using mainly traditional systems when it comes to air quality and pollution monitoring. These traditional systems, even though they use sensors, do not enjoy the same levels of flexibility and capabilities as WSNs.

Their fixed topologies and their inability to self-reconfigure like WSNs, does not allow the same capabilities in online real time monitoring and alarm notifications. Hence, timely precautions cannot always be taken for example as in the case of any incident that forces some changes in the network topology. Some WSN-based air quality monitoring systems have been introduced recently but they are not appealing enough to industry. Most of these are too complicated to implement, require specific equipment that is not open-hardware or open software, and are application and location dependent. They do not consider quality of service (QoS) metrics of the networks such as delay, accuracy, reliability (fault tolerance). Data gathered from these WSNs cannot be reused or shared. Here we introduce a WSN-based air quality monitoring system for urban and industrial areas.

This monitoring framework uses open hardware and software based on Libelium’s gas sensing capable motes. A set of gas sensors measuring ozone, CO, and NO2 concentrations is to be deployed on stacks and infrastructure. Sensed data will be sent to a dynamically configurable computing platform that scales to support both near real-time incident management and longer term strategic planning decisions. Collected data will be delivered to a computing platform where it is to be comprehensively analyzed and used to validate the findings of the existing predicted models. Thus, the proposed framework provides timely distributed measurements of different air quality metrics which would help in evaluating the impact of industrial emissions. The following features of the proposed framework distinguish it from the existing air quality monitoring systems.

- An efficient and simple way of event subscriptions and notifications.

- Though it is designed mainly for the air quality monitoring, the framework can still be reused for other monitoring applications.

- Real time monitoring and alerting on abnormal events more accurately.

- Location and time independent.

- An efficient and simple way of identifying the failure of sensor nodes and reducing sensors energy consumptions.

Moreover, we introduce a simple Clustering Protocol of Air Sensor network (CPAS) that fits well with the WSN-AQMS and that is energy efficient. Simulation results show that the CPAS protocol has longer network lifetime and can identify the failure of sensor nodes.

BLOCK DIAGRAM

NO2 SENSOR

CO SENSOR

NO2 SENSOR

CO SENSOR

LCD

DISPLAY

POWER

SUPPLY

ZIGBEE

Controller

UNIT I

UNIT II

TRANSMITTER BLOCK

PC

MAX 232

ZIGBEE

HARDWARE USED

- CO SENSOR

- NO2 SENSOR

- Controller

- ZIGBEE

- PERSONAL COMPUTER