ADVANCED SMART CARD BASED DIGITAL ENERGY METER USING ATMEL MICROCONTROLLER

ABSTRACT:

This paper presents a single phase digital prepaid energy meter based on microcontrollers and a single phase energy meter. This digital prepaid energy meter does not have any rotating parts. The energy consumption is calculated using the output pulses of the energy meter chip and the internal counter of microcontroller (Atmel controller).

A microcontroller (Atmel) is used as a smart card and the numbers of units recharged by the consumers are written in it. A relay system has been used which either isolates or establishes the connection between the electrical load and energy meter through the supply mains depending upon the units present in the smart card. Energy consumption (kWh), maximum demand (kW), total unit recharged (kWh) and rest of the units (kWh) are stored in the Atmel to ensure the accurate measurement even in the event of an electrical power outage that can be easily read from a LCD.

As soon as the supply is restored, energy meter restarts with the stored values. A single phase prepaid energy meter prototype has been implemented to provide measurement up to 40A load current and 230V line to neutral voltage. Necessary program for microcontrollers are written in c-language and compiled by Win-Atmel compiler.

Keywords - : Zigbee, LCD, RFID TAG, RFID READER

The present system of energy metering as well as billing in Bangladesh which uses electromechanical and somewhere digital energy meter is error prone and it consumes more time and labor. The conventional electromechanical meters are being replaced by new electronic meters to improve accuracy in meter reading. Still, the Indian power sector faces a serious problem of revenue collection for the actual electric energy supplied owing to energy thefts and network losses.

One of the prime reasons is the traditional billing system which is inaccurate many times, slow, costly, and lack in flexibility as well as reliability. Meters, in the past and today in a few countries, were electromechanical devices with poor accuracy and lack of configurability.

Theft detection was also a challenge. Recent developments in this direction seem to provide opportunities in implementing energy efficient metering technologies that are more precise, accurate, error free, etc.

A Prepaid Energy Meter enables power utilities to collect electricity bills from the consumers prior to its consumption. The prepaid meter is not only limited to Automated Meter Reading but is also attributed with prepaid recharging ability and information exchange with the utilities pertaining to customer’s consumption details.

The use of electronic token prepayment metering has been widely used in UK for customers with poor record of payment. A paper suggests a design of a system which can be used for data transmission between the personal computer and smart card.

This project uses regulated 5V, 750mA power supply. 7805 three terminal voltage regulator is used for voltage regulation. Bridge type full wave rectifier is used to rectify the ac output of secondary of 230/18V step down transformer.

Controller

LCD Display

BLOCK DIAGRAM:

TRANSMITTER

RFID TAG

RFID READER

LOAD

RELAY

Energy Meter

RELAY

LOAD

ZIGBEE

MAX232

MAX232

BLOCK DIAGRAM: RECEIVER

ZIGBEE

Max232

PC

POWER SUPPLY:

Voltage regulator

Filter

Bridge rectifier

Step down T/F

SOFTWARE:

- Embedded ‘c’

- Ride to write code

- Isp to burn the chip

- Keil compiler.

HARDWARE:

- Power supply

- atmel controller

- Rfid reader

- Rfid tag

- Relay

- Load

- Zigbee protocal

- Lcd module

ADVANTAGES:

- Wireless controlled is easy

- More useful in remote areas

- More help full to save people

- Easily operated

APPLICATIONS:

- Power management applications

- Electricity bill collection system