A SMART PREPAID ENERGY METERING SYSTEM TO CONTROL ELECTRICITY THEFT

Abstract:

Power utilities in different countries especially in the developing ones are incurring huge losses due to electricity theft. This paper proposes a prepaid energy metering system to control electricity theft. In this system a smart energy meter is installed in every consumer unit and a server is maintained at the service provider side.

Both the meter and the server are equipped with GSM module which facilitates bidirectional communication between the two ends using the existing GSM infrastructure. Consumers can easily recharge their energy meter by sending a PIN number hidden in a scratch card to the server using SMS.

This paper presents some measures to control meter bypassing and tampering. The bidirectional GSM communication using SMS ensures the effectiveness of these measures. Pilferage of electricity can be substantially reduced by incorporating the proposed measures along with the prepaid metering scheme. Legal actions against dishonest consumers can also be taken in this system.

This project uses regulated 5V, 750mA power supply. 7805 three terminal voltage regulator is used for voltage regulation. Bridge type full wave rectifier is used to rectify the ac output of secondary of 230/18V step down transformer.

BLOCK DIAGRAM:

REGULATOR

FILTER

STEP DOWN   T/F

RECTIFIER

LCD Display

Micro controller

Relay

Load

Energy Meter

GSM

Max232

Power Supply:

Software Requirements:

- KEIL Software

- RIDE Software

Hardware Requirements:

- Microcontroller

- Power Supply

- LCD Display

- Relay

- Energy Meter

- Max 232

- GSM

Advantages:

- Increases power efficiency.

- Power wastage is reduced.

Applications:

- Power Plant management

- Biometric Applications

- Security Purpose