REMOTE MONITORING SYSTEM OF ECG AND BODY TEMPERATURE SIGNALS

ABSTRACT:

The paper introduces a real-time monitoring system for in-patient. The system is made up of two sub-systems: patient physical states data acquisition and communication system based on Zigbee technology, and hospital monitoring and control centre.

The patient physical states data acquisition and communication system monitors the main physical parameters and movement status continuously. The information from data acquisition system is sent to hospital monitoring centre by Zigbee wireless communication module.

The monitoring centre receives the information from each patient and save them to database, and then judges the states of patient by fuzzy reasoning. The data from patient can be displayed as numeric on monitor if it is necessary, and then the doctor can diagnose the patient according to the recorded continuous data.

This project uses regulated 5V, 750mA power supply. 7805 three terminal voltage regulator is used for voltage regulation. Bridge type full wave rectifier is used to rectify the ac output of secondary of 230/18V step down transformer.

Block Diagram: Transmitter:

Micro controller

Temperature

Sensor

Crystal osc

Max 232

Cardiac pulse

Zigbee

Power Supply

Power supply:

Regulator

Filter

Rectifier

Step down transformer

Receiver

ARM

CONTROLLER

lcd

Display

Max 232

Zigbee

Block diagram : Receiver:

Doctor

Power Supply

Power supply:

Filter

Regulator

Rectifier

Step down transformer

Advantages:

- Monitoring and control is the core of the real- time monitoring system for patient physical states, and it can dispose , display , save ,query and analyze the data from each patient.

- One key point of all critical care for elderly patient is the continuous monitoring of their vital signs. The results prove that the mobility, usability and performance of our proposed system have impacts on the user’s attitude, and there is a significant positive relation between the user’s attitude and the intent to use our proposed system. This proposed system is expected to monitor the electrical activity of heart of the patient under critical care more conveniently and accurately for diagnosing.

- Accuracy is more, because it uses wireless network.

- Zigbee is selected as the wireless transmission standard because of its short-range, low-cost, and low power characteristics.

Applications:

- Intensive Care Units

- Ambulance services

- Traditional pulse diagnosis system